## Slide 1
LSD
Saidbek Norbaev
LSD, ELI-NP/IFIN-HH
1/7

## Slide 2
SETUP & ITS ALIGNMENT
He:Ne
AT
M1
M2
M3
M4
OAP = 101.6 mm
CMOS
I2
I1
I3
I4
φ=60°
f1=10 mm
f2=100 mm
optical axis for the beam expander: I1 & I2, by the adjustment of M1 & M2 correspondingly
beam on the 1st lens should be centered and perpendicular to it
distance between the lenses should corresponds to the sum of their focal distances
beam on the 2nd lens should be centered and perpendicular to it
collimation verification right after the 2nd lens and at the far distance, to adjust: z-knob on the 1st lens mount
optical axis for the input beam in OAP: I3 & I4, by the adjustment of M3 & M4 correspondingly
OAP positioning on the optical axis, beam on it should be centered
2/7

## Slide 3
PARABOLA OUTPUT ANGLE OPTIMIZATION
1st approximation: z-scan with screen
introducing camera with a 4.5 mm lens, its focus should be in the focus of OAP
after getting the image on the camera optimization of the focal spot:
  “yaw” + H
  “pitch” + V
z-scan by CCD mount
max intensity optimization looking on the histogram
φ>60°
OAP
…
φ~60°
φ<60°
Yaw left
Yaw right
Pitch up
Pitch down
3/7
Camera has an angle
Camera has no angle
Z-scan

## Slide 4
OBTAINED RESULTS
4/7

## Slide 5
CALIBRATION
5/7

## Slide 6
THEORETICAL ESTIMATION OF THE BEAM DIAMETER AT FOCUS
6/7

## Slide 7
7/7
https://tinyurl.com/yzabmnrh